## Sheet1
ID | Measurment/Technology (Top priorities: white) | Discipline (CD/PP/CMB) | Ranking (1, 2, 3) | Availability (E , M, I) | Science | Method | Problems | Recommendation | Costs | Interrelationship | EDP Link | Comments
Discipline: CD = Core Description; PP = Petrophysics; CMB = Chemistry and Microbiology.
Rankings: 1 = highest level of importance for science; 2 = would be good for supplementing science; 3 = would be good to have, but problems exist
Availability E = Existing; M = Needs Modification; I = Needs Innovation
A1: Shipboard/laboratory measurements
A1-1 | Automated system for cell counts (eg. Microspcopic imaging system, flowcytometry). | CMB | 1 | E/M | To enumerate accurately microbial population in sediments, it has been pointed out that eye-independent recognition of fluorescently labeled microbial cells is nesssesary for QA/QC. |  |  |  | ~$140000 (in case of Morono et al 2009) | A1-6, A1-7 |  | Morono et al. has recently published (2009, ISMEJ) an image analysis method for eye-independent cell counting with epifluorecense microscope. And he has just constructed the microscope system with slide loader for automatic cell counting. However, lower limit of detection, which is currently down to 102 103 per cm3 of sediment would be the problem for finding limits of life. The situation sould be more tough in the hard rock samples. Thus continuous development is neccessary.Maybe also consider a linkage to NASA new technology (deep UV laser) that enable detection of biomass on surfaces.
A1-2 | Laser optical masspectrometer for oxygen isotopic ratio of H2O | CMB | 2 | E | Characterization of interstitial water of the cores. | The Liquid Water Isotope Analyzer provides measurements of isotopic ratios using the latest cavity-enhanced laser absorption technology (i.e., high-resolution direct-absorption spectroscopy). The analyzer provides 18O/16O and D/H in water samples with almost same accuracy and precision of mass spectrometer. | Up to now, water 18O/16O and D/H analyses had to do after the cruise because mass spectrometer could not be installed on ship. And, 18O/16O and D/H analyses have been performed separetely. The measurement is sensitive for temperature change (Recently, improved?). | Already commercially available. The analyzer can measure 18O/16O and D/H of water simultaneously with very short time. The machine is very robust, so it will work well on board ship. | ~$120, 000 |  |  | *The analyzer will be used on "Chilyu" for interstitial water tentatively (March 2009; during STP!). *Good manual has already existed: IAEA Standard Operating Procedure for the Liquid-Water Stable Isotope Analyser.
A1-3 | Membrane-inlet mass spectrometry (MIMS) technology | CMB | 1 | E | In situ dissolved gas concentration (methane, ethane) after recovery from void gas. | Technology exists. | Exclusive inner pipe for subsampling may be required. | Detemine in situ gas concentration.
A1-4 | Cathodoluminescence X-ray Spectrometer | CMB | 2 | E | Would provide analytical capabilities not present aboard ship (note: this system was utilized as third-party tool during 304/305). Trace mineral geochemistry. | [6 empty] | Commercially available.
A1-5 | Laser optical masspectrometer for carbon isotopic ratio of Methane, CO2 | CMB | 1 | E | Determine carbon isotopic ratio of methane on-board. |  |  | Already commercially available. The stable carbon isotopic ratio can affect the decision of real time drilling as well as safety monitoring. | ~$100000 | B1-4
A1-6 | Real time, on board evaluation of contamination of cores (by drilling mud constituents - chemicals and microbes). | CMB | 1 | I | Monitoring of contaminants in IW, microbiology, geochemistry, etc. |  | Still under development. Drilling mud in riser drilling containes high concentrations of organics and salts that will seriously effect pore-water chemistry. |  |  | A1-7, A1-1 | ED A-21: Anti-Contamination System (Gel Core Barrel); ED C-7: Identifying, tracking, and minimizing drilling contamination.
A1-7 | Novel contamination tracer | CMB | 1 | I | Indicator for seawater and circulation water contamination for cores. |  | Contamination tracers used for IODP expedition now have several problems. PFT is too volatile, and fluorescent beads are too expentive and circulating efficiency is not enough. | Materials that are less volatile than PFT. |  | A1-6, A1-1
A1-8 | Semi-automatic sample treatment equipment for microfossils. | CD | 2 | I | Processing the large numbers of samples received on paleoceanographic legs places a large burden on shipboard paleontologists. Automatic sample processing (analog to that for chemical analysis) would free up time so that the scientists can provide more detailed data for development of the age depth model. | Sample preparation techniques used for micropaleontology are chemical and physical reaction processes, and it should be possible to automate this process. Existing equipments developed for industrial purposes could be the solution of automatic sample treatment, and replace the need for dedicated shipboard technicians. | Presently there are no designated paleo-technicians, so that shipboard paleontologists must spend a large part of their time doing sample processing, which could be automated. This would be especially important on legs where indurated sediment is recovered (deep holes). | Automation would assist in increasing shipboard safety and preventing mistakes (e.g., acid handling, especially HF). |  | A1-9
A1-9 | Sediment grain-size & shape analysis | CD CMB | 1 2 | E/M | Quantitative characterization of sediment particles is essential for sedimentology, micropaleontology and microbiology. | A new grain-size and -shape analyzer uses high-speed digital cameras with a pulsed laser system to automatically capture numerous particles in a flow-cell. This technology enables to analyze not only grain-size but also grain-shape and optical properties of each grain. Combined with image analysis, this equipment could provide an automated analysis of sediment components, and thus replace smear slide analysis by the shipboard party, which has severe QA/QC problems. | Although the image acquisition hardware is available, image analysis software optimized for earth sciences has not yet been developed . | The automated image analysis of sediments is helpful to reduce human error. This method has the potential to replace the legacy smear slide method, which has been documented to have severe QA/QC problems. The grain-size & shape analyzer is simple and easy to use, and has the potential to become routine on all legs with more software development. | Imaging Equipment: ~$150,000 | A1-8, A1-16 |  | See following web-site for details of the hardware: http://www.sympatec.com/ImageAnalysis/QICPIC.html. Combined with formation factor, studies for habitability will be enhanced.
A1-10 | Formation factor | CMB PP | 1 2 | E/M | Flow rates of nutrients for microbiological work; pore water inter-connectivity. | Formation factor (F) is defined as the resistivity of the l00% water-saturated rock framework (Ro) to the resistivity of the water solution contained in the rock (Rw). Archie also proposed a the relation where F = 1/phi^m where phi is porosity and m is an empirically constrained cementation factor. We currently measure Ro and phi in ODP/IODP. Rw should be defineable from temp and water chemistry data. | Reproducibiltiy and QA/QC on Ro; what scale/resolution of Ro and/or phi data are needed for microbio? Can we set up model to get Rw from routinely collected porewater data? | Look into benchtop resistivity tools for making high resolution measurments and including in phys props data flow. |  | B2-1, B2-2, A1-16 |  | Can be time consuming.
A1-11 | Anelastic Strain Recovery (ASR) | PP | 2 | E | Determining principal stress directions required to understand dynamic processes like faulting and landslides. | Multi-deminsional strain measurements monitoring during relaxation after coring. | Individual measurements can take 1-2 days or more. Core disturbance could preclude reliable measurements. |  |  | B2-1, B2-2, C2-2, B2-3 |  | Technology and labs exist to do these types of measurements, however we are most-hindered by recovery issues. Special measurement with value for expeditions involved in stress determination.
A1-12 | Thermal Conductivity Meter | PP | 2 | M? | Optical logger would allow thermal conductivity measurements on a larger scale. |  |  |  |  | B2-1, B2-2 |  | How does this work? What is technology? Does this allow measurement on hard rocks?
A1-13 | Small-bore Cryomag | PP | 2 | E | Need for better analysis of discrete and u-channel samples. |  |  |  |  | A1-14, A2-2 |  | Can be done post-cruise at Kochi. Bremen?
A1-14 | Thermal Demagnetizer | PP | 2 | E | Need to replace obsolescent system. |  |  |  |  | A-13 |  | Can be done post-cruise at Kochi. Bremen? Status of JR system?
A1-15 | Volume imaging | CD PP | 2 1 | M | Assessment of fabric and structural development. Volume imaging can affect sampling strategy thus has value as as a shipboard measurement. | Acoustic tomography, X-ray CT, Resistivity tomography. | The medical technology already exists, but its resolution is not enough to identify sedimentary structures and microfossils. In addition, analyzing software for quantitative measurement of 3D images is not available for earth science purposes. | The improvement of volume imaging methods are important for quantitative analysis of 3D features of cores. Even 2D X-ray images are helpful for recognizing sedimentary structures such as thin tuff beds or trace fossils. In addition, volume imaging before core splitting is useful for determination of intervals for whole core sampling. |  | A2-3 |  | Xray CT done on the Chikyu. We could consider linear X-ray analysis on the catwalk or elsewhere in the whole-round core track to help guide sampling and sectioning. This could be done before thermal equilibration.
A1-16 | New generation non-destructive core logger. | CD PP | 2 2 | M/I | Onboard non-destructive measurements are important because they can record ephemeral information of cores. For example, manganese compounds and sulfides, which are stable only in reductive environments, must be measured onboard. | (1) spectroscopic core-logger of ultraviolet or near-infrared ranges, and (2) two-dimensional moisture content core-logger are quite significant for measuring ephemeral properties of sediments. | Several components of sediments such as manganese compounds and sulfides, which are stable only in reductive environments, are ephemeral so that they must be measured onboard. | New generation core-logger that measures ephemeral properties of cores can transform the science. |  | A1-9 |  | Measurements include gases, pore waters, etc.
A1-17 | Improvement of whole-round surface core Logger | CD PP | 3 2 | E | Need for a tool to take digital images of the external surface of a core (e.g., hard rock cores). Correlation of cores and horizons. | Image processing of 4 core photos taken from different directions can produce a whole-round image of cores. | Need for a tool to take digital images of the external surface of a core (e.g., hard rock cores). | Useful for correlation of cores to logging data (FMI). |  |  |  | Routine measurement in ICDP. Also done in Andrill.
A1-18 | Shipboard science on pressure cores | PP | 1 | I | make physical/chemical/biological samples on pressure cores without depressurization. |  |  | GA Tech has some tools - need to follow up on tools available and science. |  | B2-6, C2-4 |  | Inportant for hydrate studies and carbon capture
A1-19 | CAS Freezing | CMB | 1 | E/M | Explore new methods such as those that may be used in the food industry or as used by geochemists or physical property preservation of samples. Examples: vacuum preservation of samples, CAS freezing to preserve cell integrity. | CAS magnetic field during freezing to prevent cell destruction; alternate thawing approaches; and others yet to be explored. |  | Investigate new concepts for preservation of microbial cells or biological molecules in subsurface cores. |  |  |  | Need support of research to investigate.
A1-20 | Vacuum Freezing | CMB | 2 | E/M | Explore new methods such as those that may be used in the food industry or as used by geochemists or physical property preservation of samples. Examples: vacuum preservation of samples, CAS freezing to preserve cell integrity. | vacuum treatment of samples; alternate thawing approaches; and others yet to be explored. |  | Investigate new concepts for preservation of microbial cells or biological molecules in subsurface cores. |  |  |  | Need support of research to investigate.
A1-21 | SQUID Magnetometer on Chikyu | PP | 1 | E | Allows continuous, remenant magnetezation measurements on sediment cores |  | Flux jumps, helium calibration
A2: Software/database
A2-1 | Improvement and continued development of Digital Taxonomic Dictionaries | CD | 1 | E/M | Digital Taxonomic Dictionaries (i.e., lists of taxa as well as information on morphology, including images) as well as on stratigraphic and geographic distribution are of prime importance for QA/QC of paleontological data, and for data compilation for studies of paleoenvironment and evolution of biota. | Collection of information and high quality images (3-D where appropriate) and capture into database. Work is in progress on data collection as well as software development. | 3-D manipulation of images is necessary especially where material has been deformed; technology exists but has not been applied in most cases. | continue cooperation with PCG. |  | A2-1, A2-2 |  | DTD must reflect the inherent morphological variations of taxa, reflecting geographic and temporal variation. Molcer (WhiteRabbit, Inc.) , a free application for 3D visualization, is available to download from following URL; http://www.white-rabbit.jp/molcerE.html. Molcer Plus, a charged varsion, include mesurement function.
A2-2 | Automatic age- depth models | CD | 1 | I | Automatic age-depth models need to be iterative and integrative- as the age models change, so must the age- depth plots. They need to be able to handle uncertainty (e.g., p’mag and biostrat give different answers, uncertainty in data intervals). This is software development for shipboard use. Age models are of prime importance for the full shipboard party as well as post cruise work which relies on sediment accumulation rate estimates (e.g. geochemistry). | Shipboard paleontologists and paleomagnetists must be able to input data easily and combine with stored information on time scales (GPTS) in order to generate an age depth plot. | Existing software does not perform this task efficiently. | The age-depth plotting tool, developed as a prototype at TAMU, would be helpful for onboard scientists to create an age-depth model. |  | A2-1, A2-3, A1-13, B2-3, C1-4 |  | Shipboard parties will insist on developing their own time scales, but they should be provided with an electronic version of the most commonly used versions of the GPTS. There should be links between the age-depth model software and the DTDs for added ease in development of the micropaleontological part of the age model. There should be links to the paleomagnetic data input as well.
A2-3 | Integrated VCD system with multi-data browsing system. | CD | 2 | M | VCD is the basic information on cores, and the VCD database is significant for all on-board and post-cruise research. | Evaluation of existing systems (J-CORES and DESCInfo), and development of a next generation VCD system integrated with multi-data browing software, based on the discussions of the international scientific communities. | User interface of existing VCD systems can be improved, and consistensy of data between expeditions and/or platforms is future subject to discuss. | Improvement of the VCD system is important in order to input the visual core description information into databases efficiently. In addition, integration of the VCD system with a multi-data browsing system is useful for identification of less easily identifiable features . |  | A2-1, A2-2, A1-15, B2-2
A2-4 | Digital catalog of smear slides and thin sections | CD | 1 | E/M | One of most common methods of core description by sedimentologists is the microscopic observation of sediment components in smear slides or thin sections. Many cores recovered IODP are non-lithified, and therefore the smear slide technique is critical for the characterization of sediments and the determination of lithological names assigned to cored materials. However, shipboard sedimentologists often have little or no experience in the semi-quantitative description of smear slides, so that shipboard tutorial material is necessary for QA/QC. | Combined expertise in petrology, core description, and production of image-based educational materials can create a digital smear slide educational module for use by shipboard and shore-based (repository) sedimentologists. The product should contain an image atlas of smear slides and thin sections, with sufficient documentation and tutorial texts for smear slide creation and interpretation. Ideally, the digital images will be linked to the physical smear slides. | In order to describe smear slides and thin sections consistently, sedimentologists must have training in optical mineralogy, sedimentary petrography and micropaleontology, so that they are able to identify individual sediment components. Microscopy training in many academic programs is on the decline or has been dropped from the curriculum entirely. Legs/expeditions have suffered (in terms of quality of science produced) because there was not at least one trained in smear slide description among the shipboard scientific party. | Digital reference materials of both smear slides and thin sections have not been created, and there is a distinct need for a self-instructive module on smear-slide preparation, description, and interpretation for use by shipboard sedimentologists without previous training. Even trained petrographers who have not previously worked with smear slides would benefit from the availability of tutorial resources and reference materials. | ~$150,000-$350,000 | A1-9, A2-3 |  | A digital smear slide/thin section tutorial can also be very useful to scientists outside the drilling community, e.g. universities, museums.
A2-5 | Unified Ocean Drilling Database with tracking system of literature | CD | 1 | I | Scientists (including those from outside the traditional drilling community) would greatly benefit from easy (on-line) access to a relational database which would help to optimize sample requests for specific analyses (e.g. new geochemical proxies need to be done on samples from a specific age/ocean basin/water depth/lithology). | establishment of relational database that allows data queries most needed by the scientific community (e.g., asking for samples without knowing leg/expedition/site number). This would require some way of integration and expansion of existing database work (e.g., Neptune, Chronos, SEDIS, J-CORES, LIMS) | Data are present in many different formats, many only in published literature. This would/might be a very large-scale project to include the tracking system of literature. | Look into the possibility of a 'second generation SEDIS’ |  | A2-1, A2-2, A2-3, A2-4
B1: Drilling technologies
B1-1 | Deep hole penetration technologies (deep water, deep drilling). | CMB CD PP | 1 1 1 | M/I | To determine the architecture and composition of the ocean crust which hosts life (and its limit) and holds the history of Earth origin and evolution, geologic origin and nature of the seismic reflector that defines the in situ oceanic Moho, and extent of hydrothermal activity. | E.g., Riser drilling in water depths >2,500 m or Riserless Mud Recovery Systems | Expensive in terms of instrument development and longer drilling time. Expensive to get riser for this capability. | Plan for the future. |  | B2-5, B1-2 | ED B-21: 4,000 meter class riser system; ED B-22: 4,000 meter class BOP; ED B-26: Cementing protocol for deep drilling; ED B-27: Drill pipe for ultra deep ocean drilling; ED B-29: Mud circulation drilling system over 3,000-m water depth. | Long-term objective.
B1-2 | Larger diameter pipe | CMB CD PP | 1 3 1 | M/I | To decrease the effects of contamination for both geochemistry and microbiology. Larger cores also allow many types of analyses; larger diameter holes allow more downhole logging measurements. Allows more logging robustness, provides more material and the ability to go deeper. |  | Need to balance the increased drilling time and costs of the large diameter hole vs the new data gained by running larger diameter tools. Most critical measurements can be made (now) using slimline tools in small diameter holes. | Need to quantitatively express what these tools are and how they will impact the science – geochemical logging tool, NMR tool, FMI imaging tool, Modular Formation Dynamics Tester (formation fluids, etc), Cased Hole Dynamics Tester. |  | B1-1, B2-1, B2-2, C1-1 | ED A-7: Large Diameter Diamond Coring Systems (ADCB); ED B-1: Larger Diameter Pipe. | Larger diameter pipe impacts science by expanding number/type of downhole tools can be run. Large diameter pipe also has huge implications for paleoceanography and maybe even microbio. First it will increase the number of high resolution analyses possible for each interval (currently we can’t get more than one or two, and need to use the archive half). This will improve accuracy of the high res analyses bc they can be replicated. It will also permit us to resample the core in the future, to apply new techniques. Second, the larger diameter means we can get the same volume of sample over a smaller interval so we may achieve even higher resolution sampling. Could solve the microbio whole round sampling issue. Large diameter CORING system would transform paleoceanography/sed but huge expense and may be best for MSP due to cost and depth trade-offs. Increasing the core diameter might require great changes in core handling and processing onboard (e.g. storing, cutting and logging)
B1-3 | Directional Drilling | CMB CD PP | 2 2 2 | E/M | Targeting of laterally discontinuous horizons or to follow certain structures; It is useful for drilling near vertical faults as done on land for the San Andreas Fault. | Directional drilling. | What is the added cost of directional capability? Will we gain anything from directional drilling that we don’t get from the current model of drilling an adjacent, vertical well?Technology exists but costs could be prohibitive. | May not be an urgent need for this approach in IODP. We should spend some effort looking into alternate coring techniques that could help improve the recovery of critical boundary material and significant lithologies such as black shales. |  |  | ED B-15: Directional Coring | We should spend some effort looking into alternate coring techniques that could help increase recovery. Has its merits; critical boundaries, black shales; can link close vertical wells that were used to characterize the wells.
B1-4 | Real time mud gas monitoring | CMB | 1 | E/M | Dissolved gas species and isotopic analysis in riser drilling system without pressurized coring system. | Technology exists (Combination of some commecial tools). | Technology exists but no IODP experience with it. Gas samplimng line has not established in Chikyu yet. | Determine in situ gas concentration (methane, ethane, hydrogen, He, ammonia, H2S, CO2, CO, Ar, Ne, Rd), and isotopic ratio of O, H, C, N, He, S. |  | A1-5 |  | New tool that applied techniques from established MDT (ST-15) and PTCS is expexted.
B2: Coring technologies
B2-1 | Enhanced core recovery | CMB CD PP | 1 1 1 | M/I | Enhanced recovery of hard-soft sequences, hard rocks (e.g., young oceanic crust), fault zones, poorly consolidated sediments, etc. | Techniques such as thin-walled, short-stroke Shelby tube samplers exist in the geotechnical community. Seabed frames probably would significantly enhance core recovery. | Core recovery of heterolithic intervals (such as alternating sand and mud, chalk and chert) with XCB or RCB is extremely low, but good recovery would be of major importance for paleontological, sedimentological and paleoceanographic studies because such sediments contain a high-resolution record of paleoenvironmental fluctuations. Tools may not be compatible with existing BHAs. Changeover time would decrease time for long cores and other borehole activities. | Investigate the applicability of such samplers with IODP, specifically the deployment capability and functionality with the BHA. Any technique that can improve the traditionally very poor core recovery at these sites would be money well-spent. Contact Fugro or NGI for existing technology and cost. |  | B1-2, B2-2 | ED A-1: Thin Walled Geotechnical Sampler; ED A-3: Upgrade to RCB System; ED A-4: Hard Rock Re-entry System (HRRS); ED A-5: Coring Guidelines/Operations Manuals; ED A-13: Seabed Coring Devices; ED A-14: Jumbo Piston Corer; ED A-16: Pressure Coring systems (PTCS, PCS, FPC, HRC, etc.); ED A-9: Vibracore/Percussion Sampler; ED A-24: Transition Corers; ED B-30: Freestanding, remotely operated deepwater shallow hole coring system. | Disturbance from APC, XCB, RCB and the Chikyu equivalents imparts significant disturbance on cored material, which affects our ability to accurately measure material properties on cores, and the time resolution of micropaleontological and geochemical studies. Overalp with ST-36: Coring without disurbance to soft sediments (replace XCB system). Link to implementation of geochemical and microbiology contamination tracing technologies.
B2-2 | Coring without disurbance of soft sediments and/or heterolithic sediments (replace XCB system). | CMB CD PP | 1 1 1 | M/I | Increased science from cores in terms of recovery, structures, paleomag, low contamination, reliable physical properties data etc. | CDEX is developing new coring systems: the EPCS (extended punching coring system and the EVCS(extended vibration coring system). These punching and/or vibration core systems will be alternate systems to the XCB used presently. Ultrasonic (ultrasound) methods offer and additional possibility of recovering firm sequences. | Biscuiting core disturbance by the XCB system makes it impossible to reliably do VCD and to recover reliable physical properties data (see results documented in ODP Leg 180, 184186, 188, 190, 202 IR volumes). | During the DSDP/ODP, the XCB coring system has been used for drilling firm and heterolithic sediment sequences, but the system causes serious coring disturbance (including drilling biscuits) that significantly affects the original sedimentary structures. Development of new coring technology is necessary to improve the recovery and decrease the diturbance while drilling firm sequences . |  | B2-1, B1-2, A1-16, A2-3 | ED A-1: Thin Walled Geotechnical Sampler; ED A-14: Jumbo Piston Corer; ED A-20: Upgrades to XCB system. | Overlap with ST-6: Directional Drilling. ST-4: Enhanced Core Recovery.
B2-3 | Oriented cores - 1 | CD PP | 1 1 | M/I | Needed for magnetics, structural geology, stress orientations, sedimentary structures etc. | a. Secondary magnetization during Brunhes: (RCB) (Shibuya et al. (1991, ODP Sci. Results, 124); b. Characteristic remanent magnetization (ChRM): Widely used; c. Tensor Tool (APC): Widely used; d. Pattern match of bore hole and core surface (XCB?/RCB): Widely used; e. Scribing core catcher + Tensor tool (RCB): Fisher and Becker (1993, ODP Tech. Note, 10) f. Impressing of core top shape (inclination and/or roughness) + Tensor tool (RCB): Simple and Cheaper | a. Usually secondary magnetization is overprinted by drilling remnance; b. ChRM is not always applicable (unstable, low inclination, block rotation, plate motion); c. Tensor tool is affected by magnetic environment (need nonmagnetic BHA), error~30°; d. Pattern match is not always applicable; e. Scribing may cause jamming or break cores some time, time consuming, expensive; f. When the top surface of core is perpendicular to borehole axis, the method is impossible. Need a extra run to do orientation – time consuming. | If it can be done without breaking the bank, it would dramatically enhance IODP science. |  | A1-11 | ED A-12 Provide core orientation on standard coring tools | This is additional to the basic core orientation that already occurs on APC cores. RCB and XCB are not currently oriented, and having oriented cores would enhance sedimentological and structural interpretations and paleomag and eliminates guestimating orientation for p'mag, particularly in more lithified material, thus would be valuable for science objectives. Oriented cores require non-magnetic core barrel (see ST-5).
| Oriented cores - 2 |  |  |  |  | Replace or combine Tensor tool with ring laser gyro (e.g. Honeywell GG1320AN; size: Φ=88mm x H=45mm; drift: ~0.0035 degree/hour). |  | If it can be done, it would dramatically enhance IODP science. | ~$27,000?
| Oriented cores - 3 |  |  |  |  | Advanced scribing or other sophisticated marking methods. |  | If it can be done, it would dramatically enhance IODP science.
B2-4 | Non-magnetic core barrel | CD PP | 3 2 | E/M | Palemoagnetic studies. |  | Parts of coring system are non-magnetic, but still have issues that BHA and drillstring are magnetic. | This has been tried previously with (very) limited success. Expensive and the weaker titanium required sacrifices some strength of core barrel. Low priority. |  | A2-2 | ED B-16 Non-magnetic collars; ED B-17 Non-magnetic core barrel; ED B-18: Magnetic shield for core barrels / anti-contamination core barrel. | Important for pmag (transformative); Could be mission specific; this exists and is a cost issue. We should spend some effort looking into alternate coring techniques that could help increase recovery.
B2-5 | Motor driven core barrel | CMB PP | 1 1 | M | To take hard rock core without drilling fluid contamination in riserless drilling. |  |  | Enhance geochemistry as well as microbiology on hard rock environments. |  | B1-1 | ED A-10: Motor driven core barrel (MDCB)
B2-6 | Pressurized coring with temperature control | CMB PP | 1 2 | I | Recovering active piezophilic and psychlophilic microbes, and detemine their activity. Recovering clathrate in situ. Determine in situ gas concentration. | Existing tools include Pressure Core Sampler (PCS in ODP/IODP) and commecial tools HYACE Rotary Corer (HRC) and HYACE Percussion Corer (FPC) [both by GEOTEK]. | Tools have had low to modest success. Success increased with use of seabed frame. Each deployment takes long time for ~1m core. Tools do not have temp control but can be monitored. The system was established for hydrate research. Thus, subsampling system is not prepared for other science targets. And it can not install into riser pipe. | Temperature is difficult to control but can be monitored and recorded. |  | A1-18, C2-4 | ED A-16: Pressure coring systems (PTCS, PCS, FPC, HRC, etc.) | New tool that applied techniques from established MDT (ST-15) and PTCS is expexted. JAMSTEC has bad example for high pressure inoculation-cultivation system for piezophiles.
B2-7 | Sidewall coring | CMB CD PP | 2 2 2 | E | Coring of missed intervals/enhanced samping of critical sections. | Technology exists but the method should be improved to provide better recovery of sidewall cores, of special interest for holes that are not fully cored. | Cost could be problem. Requirement of large diameter pipe? Large diameter is required for geochemistry and microbiology. | Sidewall coring allows data recovery in intervals that are difficult to recover, such as heterolithic deposits or hard rocks. |  | B1-2 | ED A-11: Rotary Sidewall Coring; ED B-15: Directional Coring | Allows for data recovery in difficult areas such as carbonates May not have commercially available options/ integration. Deployments of sensors for geochemistry and in situ colonization system should be integrated.
B2-8 | Cuttings analysis for riser drilling | CD PP CMB | 2 2 2 | E | Recovering active piezophilic and psychlophilic microbes, and detemine their activity. Recovering clathrate in situ. Determine in situ gas concentration. Mineralogic characterization. In some cases (e.g., poor core recovery), possibly the only way to analyze hard rock samples. | Protocols for handling, describing and curating cuttings should be provided as a handbook; these methods have not been described under ODP because that program did not do riser drilling. Very useful to establish stratigraphy in intervals with poor recovery. | Technology exists but no IODP experience. Thus, The handbook providing methodology and procedures is necessary. | If core recovery in hard rock drilling continues to be poor, this would be essential for documentation of drilled sequences, their chemistry and fossil record. |  |  |  | CDEX is working on this issue.
C1: Downhole logging technologies
C1-1 | Logging while coring | CD PP | 2 2 | E/M | Obtain both LWD data and core in the same hole. Useful for core-log integration in unstable borehole conditions such as unconsolidated sand/clay or foult zone. | Measure various petrophysical data from the borehole while coring. Lamont tool can measure gamma ray and resistivity. | Difficult to use mud-pulse transmission (MWD) because the central part of the tool is occupied by core barrel. Difficult to recover radioactive sources when tool stuck. Core diameter is smalller than regular coring. | Technology exists (gamma ray and resistivity only), but this would probably only be used infrequently. |  | B1-2 | ED B-9: Drilling parameter acquisition while coring; ED B-10 Real time drilling parameter acquisition while coring; ED B-11 Formation logging while coring. | Technology exists, but it appears not much is being done. What is the added scientific value if we are already logging and coring? Technology may need to adapted; implementation issue; added scientific value for all from improved recovery. An evolving technology that should be tracked. Seems worth exploring though I have my reservations in regards to accuracy of the sampling in highly fractured lithologies (e.g. depth correlation).
C1-2 | Multi-arm caliper | PP | 2 | E | Obtain stress orientation/breakout directions. | Technology exists. | Perhaps need larger diameter pipe. What is life span (ripping arms off)? | This tool should be investigated but also compared/contrasted with resistivity-at-bit imagery which also gives 360 degree imagery of borehole which can be used to get stress orientation. Should be routine on all expeditions. |  | B1-2, C1-6, C2-1, C2-2
C1-3 | Downhole magnetometer (GHMT) | PP | 1 | E | Downhole magnetostratigraphy and studies of magnetization in both sediments and igneous ocean crust. Can be used for complete magnetostratigraphy section in sediments. | 3-axis fluxgate magnetometer and high accuracy total field magnetometer combined in one tool. | Technology used to exist but is no longer does. Of existing tools, the GHMT is no longer available to IODP and the tool was not well-supprted by Schlumberger, and the GBM (Gottingen Borehole Magnetometer) requires a dedicated tech and had problems in past IODP deployments. Neither tool combines modern off-the-shelf sensors. | Only useful for igneous rock legs with substantial penetration depths – in uncased holes. Not a routine tool. Downhole magnetostratigraphy is a proven technique but is not presently available to IODP. A well-designed new tool would provide superior data and overcome difficulties experienced with previous downhole magnetometers. |  |  | A proposal by Lamont to build a new magnetometer tool (the Multisensor Magnetometer Module) has been submitted to ETF and reviewed by EDP. | Lamont has recently developed and built a new downhole magnetic susceptibility tool, tested on 320T, recommended for 320.
C1-4 | Vector (3 axis) magnetometer | CD PP | 3 2 | E | Downhole tool orientation and studies of magnetization of igneous ocean crust. | A 3-axis fluxgate magnetometer, Schlumberger's GPIT, is deployed regularly. See ST-19. Exists. Currently run as GPIT with FMS in wireline logging on JR. |  |  |  | A2-2 |  | Lamont has developed and tested new MSS tool. EXCELLENT for stratigraphy in intervals with poor recovery. See ST-19.
C1-5 | Advanced dowonhole imaging | PP | 2 | E | To obtain high resolution images from the borehole is useful for geological interprepation when core recovery is low. |  | Resolution of RAB (resistivity-at-the-bit) image is not very high (1 inch). Difficult to use FMI during riserless drilling due to tool diameter. | High resolution imageing byRAB. FMI deployment in riserless hole. |  | C1-2, C2-1, C2-2
C1-6 | Slim line logging tools from other vendors. | PP | 1 | E |  |  |  | This been done on JR. What about Chikyu, Bremen? |  |  |  | They are widely used in ICDP and also on MSP (Tahiti and planned for NJ). Perhaps ICDP would be willing to provide them for IODP.
C1-7 | Seismic while drilling | PP | 2 | E | Ties seismic to logs to cores and can potentially be used to update scientific plan ahead of the bit. | Commercial tools exist. |  | Similar to Logging while coring. Used on a very few specialized legs, but not routinely. |  |  |  | More effort should be put into learning about this technology, Has this been used in ODP in the past? We think it has.
C1-8 | Open-Water Re-Entry Logging | PP | 2 | E | Expands logging tool capabilities. | ROV deployment of logging tools in open holes. | Need ROV; need good hole conditions.
C1-9 | Logging while pulling pipe | PP | 2 | M | Additional logging measurements while pulling pipe. | Under development, memory tool. | Under development so should track progress. | Continue to follow development.
C2: In situ measurements / fluid sampling
C2-1 | Compressive and/or shear strengths of sediments | PP | 1 | E | Compressive and/or shear strengths of sediments are necessary for various scientific objectives (e.g., landslide at seabed) and even for safety problems during drilling operations. | It is valuable to measure the in-situ strengths while drilling to complement laboratory strength tests using core samples. For soft sediments, estimation of strength by penetrometer and/or vane system may be possible in principle. For deeper, stiffer sediments borehole-scale tests (e.g. frac tests) are required. | Advancement penetrometers and in situ vane shear tools exist for shallow seafloor tests (e.g. Fugro or Norwegian Geotechnical Institute) so there may be third-party or vendor tool issues. These tools may be limited to very shallow depths (<100mbsf). Vane shear test may be impossible. For hard rocks including hard sedimentary rocks, the only way may be an in-direct method which measures another physical property (e.g., P wave velocity) and estimates strength based on an empirical relation. | Fugro and NGI should be contacted to see about compatibility of tools within IODP structure, costs, and penetration depths. |  | B2-1, C2-2, B2-2, C1-3, C1-6 | ED A-2 Cone Penetrometer/Remote Vane | In the past ODP and IODP expeditions, the vane shear tests and pocket penetrometer tests were carried out for core samples. There is a new technology in which a penetrometer is deployed at top of drill bit of LWD and the strength can be estimated real time. More info needed.
C2-2 | Stress measurements | PP | 1 | E | Understanding stress state will immediately add to our science by adding quantitative data to stress orientations. | LOTs, Extended LOTs, hydraulic fracturing. | Not done in ODP/IODP. Can take long time (1-2 days) to complete. | Could have great value when linking to structures imaged/interpreted in cores and in borehole imaging. |  | C2-3, B1-2, A1-11, C1-2, C1-5 | EDP C-22: Stress measurements | Advanced, in situ stress measurements are routine in industry so we should explore how to incorporate them successfully in the IODP. Should be linked with ASR (ST-3).
C2-3 | Formation pore pressure (different techniques – what are pros/cons, real-time vs. long term?) | PP | 1 | E | Current real time techniques (Davis-Villanger Temperature Pressure Probe and Temperature [DVTPP] and Dual Pressure Probe [T2P] can provide accurate and near-real time formation pressures when correctly calibrated and deployed. Long-term measurements are the only way to look at transients of the system which could lead to understanding strain accumulation prior to major deformation events (e.g. earthquakes, landslides). | Insertion penetrometers create a pressure pulse. Decay of that pulse is monitored. Time-pressure data are used to interpret in situ pressure. | A protocol for calibration of the DVTPP and the T2P needs to be firmly established and the deployment tools must be revisited. Lab-based geotehnical tests are also necessary (or heavily advised) to help model decay behavior. There are currently two issues with long-term deployments – (1) no off-the-shelf, modestly priced technology employed (each CORK is roughly an individual, self-designed expt) which makes planning and installation timely and costly and (2) these deployments require long-term data recovery plans and maintenance that must be pursued outside of IODP. | A specialized measurement that could be critical on some very specialized legs. Not a routine measurement but is required by some specialized hydrologic (and perhaps microbilogic) studies so technology should be available when it will advance the science. |  | C2-2, B1-2 | ED A-22: New In situ Sensors;
C2-4 | Collection of formation fluids at in situ pressure and temperature | PP CMB | 1 1 | E | Routinely done in industry to understand in situ conditions of reservoir fluids. | Schlumberger has Modular Formation Dynamics Tester and Fugro has the Fugro Pore Water Sampler (FPWS) for collecting these samples. | Typically requires “reservoir” quality rock to get good sample. Are the tools compatible with existing BHA and pipe diameter? What is cost vs non-coring time benefit? | Might be most useful here if we can get fluids from tighter formations? And might be of interest for micro-bio? Combined with side wall coring technology, the system will be more useful for geochemistry and microbiology. |  | A14, B2-6 | ED A-23: Fluid samplers, temperature and pressure measurement tools | Only useful under unusual conditions (hydrate decompositions, chemical ppt from elevated fluids); not a routine sampling technique.
C3: Long-term downhole sensors
C3-1 | Downhole borehole sensors for long-term monitoring in high-T environment. | PP | 1 | I |  |  | Technology exists but is limited to less than 100 deg C. |  |  |  | ED C-1: High temperature electronics, sensors, and sensor systems
D: Underway geophysics
D-1 | Sea-surface magnetometer for measurements during transit | PP | 2 | E | Marine magnetic anomaly data especially in southern hemisphere and equiatorial oceans. | Cesium magnetometer (Sea SPY Marine Magnetometer Towfish) | - May need additional technical staff and maintainance. - Or may need stern training for technicians by well expert scientists. - Low resolution especially in the equatorial region. | - Gradiometer may increase the reliability providing the way to correct the effect of transient external magnetic field. - It is recommended to equip on JR. | 44,000 USD | D-2
D-2 | 3-axis magnetometer | PP | 2 | E | It may facilitate to recognize a magnetic stripe in Equatorial regieon (relatively calm wave in equatorial region). | - Fixed in vessel stern. - Corrected by gyro-system of vessel. | May need additional technical staff and maintainance. | It may increase the capacity to detect magnetic anomalies in certain configuration of magnetized bodies (JR). | 60,000 USD | D-1
D-3 | Echo sounder | PP | 2 | E | - Update bathymetry map. - Useful by combing with marine-surface magnetometer. | Easy operation. |  | Recommended both Chikyu and JR. |  |  |  | Exists on JR to be ready for use on PEAT 1. Chikyu has fish/shallow seafloor sonar/echo-sounder.